# Inspection Report

Prepared For: 
Client

Property Address: 
1906 White Lake Drive
Fredericksburg, VA 22407

## Scorpion Home Inspections, Inc.

Michael Edwards
265 Cedar Ridge Drive
Ruther Glen, VA. 22546
(540) 379-2461

| Date: 6/14/2006 | Time: 10:30 AM | Report ID: 1361-0606 |
| --- | --- | --- |

| Property: 1906 White Lake Drive Fredericksburg, VA 22407 | Customer: Client | Real Estate Professional: Paul Garrison Long & Foster Realtors |
| --- | --- | --- |

| Client Is Present: No | Age Of Home: Over 10 Years | Radon Test: Yes |
| --- | --- | --- |
| Weather: Light Rain | Temperature: Over 60 | Rain in last 3 days: Yes |

## 1. ROOFING, DRAINAGE, CHIMNEYS

| Y N G F RR NP NI 1.0 ARE THERE ANY NOTICEABLE SWAYS OR SAGS IN THE ROOF SHEATHING X 1.1 ARE THERE MULTIPLE LAYERS OF ROOF COVERINGS X 1.2 DOES THE ROOF COVERING APPEAR TO BE IN SERVICEABLE CONDITION X X 1.3 IS DRIP EDGE INSTALLED ALONG THE ROOF PERIMETER X 1.4 DOES THE ROOF MATERIAL APPEAR TO BE IN SERVICEABLE CONDITION X 1.5 FLASHINGS X 1.6 ROOF VENTILATION X 1.7 SKYLIGHTS, CHIMNEYS AND ROOF PENETRATIONS X 1.8 CONDITION OF THE RAIN GUTTERS X 1.9 ARE THE DOWNSPOUTS OR DRAINAGE PROVIDED PROPERLY X X 1.10 CONDITION OF THE CHIMNEY AND CHIMNEY FLASHINGS X 1.11 ARE THERE ANY SIGNS OF UNSAFE ELECTRICAL WIRING X Y N G F RR NP NI Y=Yes, N=No, G=GOOD, F=FAIR, RR=REPAIR OR REPLACE, NP=NOT PRESENT, NI=NOT INSPECTED | Styles & Materials VIEWED ROOF FROM: GROUND (Binoculars) ROOF-TYPE: GABLE ROOF COVERING: 3-TAB FIBERGLASS VENTILATION: SOFFIT VENTS GABLE VENTS CHIMNEY: BRICK |
| --- | --- |

Comments:

1.2 Roof shingles are missing at front of home. Recommend repair or replace as needed.

1.2 Picture 1

1.6 Plumbing vent pipes need caulking around perimeter of pipe and boot where boot flange has failed. This specific vent pipe is located at the rear side of the house.

1.6 Picture 1

1.9 (Pictures 1-2) Downspouts need an elbow at front left corner and rear of garage. Recommend readjusting the splashblock, so the water is diverted away from the home's foundational structure. (Picture 3) Reattach the downspout supporting bracket, located at the right front corner of the house (facing front). Preventive maintenance only.

| 1.9 Picture 1 | 1.9 Picture 2 |
| --- | --- |

1.9 Picture 3

1.10 Complimentary view of the chimney. The flashing material is present, and appears to be in serviceable condition. The chimney is capped to prevent rain and animals from entering the flue.

1.10 Picture 1

## 2. EAVE, SIDING, FOUNDATION WALLS

| Y N G F RR NP NI 2.0 CONDITION OF THE SOFFIT, FASCIA, TRIM AND EAVES X 2.1 CONDITION OF THE EXTERIOR WALL COVERINGS AND FLASHING X 2.2 THE CONDITION OF FOUNDATION WALLS AND MORTAR JOINTS (exterior) X 2.3 IS OUTSIDE ACCESS TO THE BASEMENT / CRAWLSPACE RODENT PROOF X 2.4 ARE THE HOSE-BIBS OPERATIONAL X 2.5 CONDITION OF THE EXTERIOR OUTLETS X 2.6 ARE THE EXTERIOR OUTLETS GFCI PROTECTED X 2.7 ARE THERE ANY SIGNS OF UNSAFE OR INCORRECT ELECTRICAL WIRING X 2.8 CONDITION OF THE GABLE VENTS X 2.9 CONDITION OF EXTERIOR DRYER OR BATHROOM EXHAUST VENTS X 2.10 IS THERE VEGETATION WITHIN A FOOT OF THE EAVE, SIDING, AND FOUNDATION WALLS X Y N G F RR NP NI Y=Yes, N=No, G=GOOD, F=FAIR, RR=REPAIR OR REPLACE, NP=NOT PRESENT, NI=NOT INSPECTED | Styles & Materials SIDING MATERIAL: VINYL BRICK VENEER |
| --- | --- |

Comments:

2.1 Siding in contact with ground at left side and rear of garage (facing front). Recommend a ground clearance of six to eight inches where possible.

2.1 Picture 1

2.2 Hairline settlement cracks (typical), were found around the exterior foundation of home. Recommend that all settlement cracks that are identified, be properly sealed to prevent any water penetration into the foundation area. This was located above the walkout basement door area.

2.2 Picture 1

2.6 The exterior outlets are on a GFCI circuit breaker at the main electrical panel.

2.9 Recommend installing a bathroom and dryer exhaust coverguard. This will prevent animals from nesting in this area.

2.9 Picture 1

2.10 Recommend that all vegetation be cleared back to at least 18 inches away from the home's eave, siding, and foundation walls.

| 2.10 Picture 1 | 2.10 Picture 2 |
| --- | --- |

## 3. DECKS, BALCONIES, PORCHES, STOOP, STEPS, RAILING

| Y N G F RR NP NI 3.0 PORCH, PATIO, STOOP OR AWNING, STAIRS AND HANDRAILS OR BALCONIES X 3.1 DECKS, FENCE, STAIRS AND HANDRAILS OR BALCONIES X 3.2 CONDITION OF WALKOUT BASEMENT X 3.3 CONDITION OF THE CHANGING ROOMS, DECK SHOWER, DECK SAUNA X Y N G F RR NP NI Y=Yes, N=No, G=GOOD, F=FAIR, RR=REPAIR OR REPLACE, NP=NOT PRESENT, NI=NOT INSPECTED | Styles & Materials APPURTENANCE: SIDEWALK DECK STOOP DRIVEWAY: CONCRETE |
| --- | --- |

Comments:

3.0 Handrails are required in this area, because there are more than three steps or the height is greater than 2 feet from the ground. Balusters are also needed. Balusters spacing requirements are a minimum of 4 inches or less. This is a safety concern.

3.0 Picture 1

3.1 Complimentary view of the deck.

3.1 Picture 1

## 4. WINDOWS, DOORS

| Y N G F RR NP NI 4.0 THE OUTSIDE APPEARANCE OF THE WINDOWS OR SKYLIGHTS X 4.1 SLIDING GLASS DOOR OR PATIO DOORS X 4.2 THE CONDITION OF FRONT ENTRY DOORS X 4.3 THE CONDITION OF EXTERIOR ENTRY DOORS X 4.4 STORM DOOR OR SCREEN DOOR(S) CONDITION X 4.5 WINDOW SCREEN(S) CONDITION X 4.6 CONDITION OF EXTERIOR LIGHT FIXTURES X 4.7 ARE THE SHUTTERS LOOSE OR DAMAGED X 4.8 IS THE DOOR CHIME OPERATIONAL X Y N G F RR NP NI Y=Yes, N=No, G=GOOD, F=FAIR, RR=REPAIR OR REPLACE, NP=NOT PRESENT, NI=NOT INSPECTED | Styles & Materials ENTRY DOORS: WOOD INTERIOR DOORS: WOOD WINDOWS: WOOD WINDOW TYPES: DOUBLE-HUNG CASEMENT |
| --- | --- |

Comments:

4.5 One window is missing a screen section. Recommend that these be added. This window is located at the right front corner of the house (facing front).

4.5 Picture 1

## 5. GARAGE

| Y N G F RR NP NI 5.0 COMPLIMENTARY VIEW OF THE GARAGE X 5.1 GARAGE DOOR OPERATORS X 5.2 CONDITION OF THE GARAGE DOOR X 5.3 DOES THE GARAGE DOORS "REVERSE" WITH RESISTANCE X 5.4 ARE THE GARAGE DOOR CENSORS PRESENT AND OPERATIONAL X X 5.5 FIRE RESISTANT SEPARATION WALLS, CEILINGS, AND DOORS BETWEEN A DWELLING UNIT AND AN ATTACHED GARAGE X X 5.6 ANY EXPOSED WIRING ON CEILING LOWER THAN 7 FEET FROM GARAGE FLOOR X 5.7 GARAGE DOOR WINDOWS X 5.8 GARAGE SIDE ENTRANCE DOOR X 5.9 FLOOR X 5.10 WALLS X 5.11 CEILING X 5.12 WINDOWS X 5.13 STAIRWAY X 5.14 CONDITION OF THE ELECTRICAL OUTLETS X X 5.15 IS THE GARAGE GFCI PROTECTED X 5.16 IS THERE ANY UNSAFE ELECTRICAL WIRING X Y N G F RR NP NI Y=Yes, N=No, G=GOOD, F=FAIR, RR=REPAIR OR REPLACE, NP=NOT PRESENT, NI=NOT INSPECTED | Styles & Materials OPENER MANUFACTURER: GENIE GARAGE DOOR MATERIAL: WOOD TYPE: ONE MANUAL ONE AUTOMATIC FLOOR MEASUREMENT DEPTH: 23 FEET AND INCHES OPENING WIDTH BETWEEN JAMBS: 7 FEET AND INCHES OPENING MEASUREMENT HEIGHT: 7 FEET |
| --- | --- |

Comments:

5.0 Complimentary view of the garage.

5.0 Picture 1

5.4 The censors are missing and need to be present, at least 6 inches from the ground. This is a safety concern.

5.4 Picture 1

5.5 This is not a fire resistant door separating the garage and the dwelling unit. Recommend replace as needed.

5.5 Picture 1

5.14 The electrical outlet at the ceiling needs a coverplate. This is a safety concern.

5.14 Picture 1

5.15 The Garage outlets are on a GFCI circuit breaker at the main electrical panel.

## 6. DRIVEWAY, RETAINING WALLS, LANDSCAPING

| Y N G F RR NP NI 6.0 DOES THE LANDSCAPE FAVOR PROPER DRAINAGE X 6.1 WALKWAY X 6.2 DRIVEWAY X 6.3 WHAT IS THE CONDITION OF THE RETAINING WALL(S) X 6.4 ANY INFREQUENTLY FOUND DISCOVERIES X Y N G F RR NP NI Y=Yes, N=No, G=GOOD, F=FAIR, RR=REPAIR OR REPLACE, NP=NOT PRESENT, NI=NOT INSPECTED |  |
| --- | --- |

## 7. ATTIC AND ROOF STRUCTURE

| Y N G F RR NP NI 7.0 IS THERE AN ATTIC ACCESS X 7.1 IS INSULATION IN THE ATTIC X 7.2 DOES THE RAFTERS, COLLARS, WOOD BEAMS, AND SUPPORT STRUTS APPEAR TO BE IN GOOD CONDITION X 7.3 ARE THERE ANY VISIBLE SIGNS OF LEAKS, ABNORMAL CONDENSATION OR DETERIORATION X X 7.4 IS THERE CORRECT ATTIC VENTILATION X 7.5 IS THERE CROSS-VENTILATION X 7.6 IS THERE ANY DEBRIS IN ATTIC X 7.7 ARE THERE SIGNS OF ANIMAL FECES IN THE ATTIC X 7.8 ARE THERE ANY SIGNS OF ANIMALS OR RODENTS IN THE ATTIC X 7.9 IS THERE ANY UNSAFE ELECTRICAL WIRING IN ATTIC X 7.10 ARE THE LIGHTING COMPONENTS ADEQUATELY VENTILATED X 7.11 DOES THE VENT PIPES APPEAR TO BE SEALED CORRECTLY X 7.12 DOES THE PLYWOOD, SHEATHING, RIDGE LINE ROOFING MATERIAL APPEAR TO BE IN GOOD CONDITION X 7.13 ARE THE EXHAUST FAN PIPE (s) / TUBING PROPERLY VENTILATED THROUGH THE ATTIC ROOF OR TO THE OUTSIDE X 7.14 IS THE ATTIC INACCESSIBLE FOR INSPECTION X 7.15 DOES THE WINDOWS APPEAR TO BE IN GOOD CONDITION X 7.16 CONDITION OF THE ATTIC DUCTWORK X 7.17 CONDITION OF THE ATTIC ACCESS X Y N G F RR NP NI Y=Yes, N=No, G=GOOD, F=FAIR, RR=REPAIR OR REPLACE, NP=NOT PRESENT, NI=NOT INSPECTED | Styles & Materials ATTIC INFO: SCUTTLE HOLE LIGHT IN ATTIC INSULATION: BLOWN FIBERGLASS R- VALUE: R-30 OR BETTER ROOF STRUCTURE: ENGINERED WOOD TRUSS 2X4 RAFTERS PLYWOOD CEILING STRUCTURE: 2X4 |
| --- | --- |

Comments:

7.1 Fiberglass (loose-fill) insulation is about 13 inches thick or just under 41 R-Value.

7.1 Picture 1

7.2 The rafters appear to be in good condition.

| 7.2 Picture 1 | 7.2 Picture 2 |
| --- | --- |

7.3 Water signs on plywood resulting from a "Roof leak", were found at the left center and right corner of the house (facing front). Recommend a roofing contractor for further evaluation, repair or replace as needed.

| 7.3 Picture 1 | 7.3 Picture 2 |
| --- | --- |

7.3 Picture 3

7.11 The vent pipes do not appear to have any leakage present at the attic / roof area. Recommend sealing the vent pipe boots for preventive maintenance. See Exterior (Roofing, Drainage, Chimneys).

7.13 The bathroom exhaust fan pipe / tubing is buried within the insulation. Bathroom exhaust vents were identified at the exterior of the house.

## 8. KITCHEN (Coverings

| Y N G F RR NP NI 8.0 COMPLIMENTARY VIEW X 8.1 CEILING X 8.2 WALLS X 8.3 FLOOR X 8.4 DOORS X 8.5 WINDOWS X 8.6 PANTRY OR CL0SET DOORS X 8.7 CONDITION OF THE OUTLETS AND WALL SWITCHES X 8.8 IS THERE ANY UNSAFE OR INCORRECT ELECTRICAL WIRING X 8.9 DOES THE CEILING FAN OR LIGHT FIXTURE APPEAR TO BE OPERATIONAL X 8.10 CONDITION OF THE AIR DISTRIBUTION SCREEN OR RETURN GRILL VENT X Y N G F RR NP NI Y=Yes, N=No, G=GOOD, F=FAIR, RR=REPAIR OR REPLACE, NP=NOT PRESENT, NI=NOT INSPECTED | Styles & Materials CEILING MATERIAL: SHEETROCK WALL MATERIAL: SHEETROCK FLOOR COVERING(S): LINOLEUM |
| --- | --- |

Comments:

8.0 Kitchen complimentary view.

| 8.0 Picture 1 | 8.0 Picture 2 |
| --- | --- |

## 9. KITCHEN COMPONENTS

| Y N G F RR NP NI 9.0 KITCHEN FIXTURES AND APPLIANCES (over-all) X 9.1 THE CONDITION OF PLUMBING UNDER THE SINK X 9.2 ARE THERE CUT-OFF VALVES UNDER THE SINK X 9.3 CONDITION OF THE SINK BASE AND CABINETRY X 9.4 FAUCET AND SPRAY NOZZLE CONDITION X 9.5 IS THERE A WATER PURIFIER AT KITCHEN SINK X 9.6 IS THE DISHWASHER OPERATIONAL X 9.7 IS THE DISPOSER OR TRASH COMPACTOR OPERATIONAL X 9.8 IS THE COOKTOP/OVEN OR RANGE OPERATIONAL X 9.9 IS THE RANGE VENTILATION OPERATIONAL X 9.10 IS THE OUTLET FOR REFRIGERATOR 3 PRONG GROUNDED OR ACCESSIBLE X 9.11 ARE THE OUTLETS WITHIN SIX FEET OF THE SINK GFCI X 9.12 CABINETS AND DRAWERS CONDITION X 9.13 CONDITION OF COUNTERTOP X 9.14 CONDITION OF THE REFRIGERATOR X X 9.15 PERMANENTLY INSTALLED MICROWAVES CONDITION X Y N G F RR NP NI Y=Yes, N=No, G=GOOD, F=FAIR, RR=REPAIR OR REPLACE, NP=NOT PRESENT, NI=NOT INSPECTED | Styles & Materials CABINETRY: WOOD COUNTERTOP: LAMINATE DISPOSER: KENMORE DISHWASHER: WHIRLPOOL RANGE/OVEN: GARLAND GENERAL ELECTRIC EXHAUST/RANGE: UNKNOWN BRAND BUILT-IN MICROWAVE: GENERAL ELECTRIC REFRIGERATOR: GENERAL ELECTRIC |
| --- | --- |

Comments:

9.8 The burners to the stove were operational. Recommend cleaning the burners.

9.8 Picture 1

9.11 The kitchen outlets are on a GFCI circuit breaker at the main electrical panel.

9.14 The ice maker was not operational during the home inspection. Recommend a service technician for repair or replace as needed.

9.14 Picture 1

## 10(A). MASTER BEDROOM

| Y N G F RR NP NI 10.0.A BEDROOMS COMPLIMENTARY VIEW X 10.1.A CEILING X 10.2.A WALLS X 10.3.A FLOORS X 10.4.A DOORS X 10.5.A WINDOWS X 10.6.A CONDITION OF THE OUTLETS AND WALL SWITCHES X 10.7.A IS THERE ANY UNSAFE OR INCORRECT ELECTRICAL WIRING X 10.8.A CONDITION OF THE AIR DISTRIBUTION SCREEN OR RETURN GRILL VENT X 10.9.A DOES THE CEILING FAN OR LIGHT FIXTURE APPEAR TO BE OPERATIONAL X Y N G F RR NP NI Y=Yes, N=No, G=GOOD, F=FAIR, RR=REPAIR OR REPLACE, NP=NOT PRESENT, NI=NOT INSPECTED | Styles & Materials CEILING MATERIAL: SHEETROCK WALL MATERIAL: SHEETROCK WALLPAPER FLOOR COVERING: CARPET CLOSET DOORS: WOOD |
| --- | --- |

Comments:

10.0.A Complimentary view of the Master Bedroom.

10.0.A Picture 1

## 10(B). BEDROOM 2

| Y N G F RR NP NI 10.0.B BEDROOMS COMPLIMENTARY VIEW X 10.1.B CEILING X 10.2.B WALLS X 10.3.B FLOORS X 10.4.B DOORS X 10.5.B WINDOWS X 10.6.B CONDITION OF THE OUTLETS AND WALL SWITCHES X 10.7.B IS THERE ANY UNSAFE OR INCORRECT ELECTRICAL WIRING X 10.8.B CONDITION OF THE AIR DISTRIBUTION SCREEN OR RETURN GRILL VENT X 10.9.B DOES THE CEILING FAN OR LIGHT FIXTURE APPEAR TO BE OPERATIONAL X Y N G F RR NP NI Y=Yes, N=No, G=GOOD, F=FAIR, RR=REPAIR OR REPLACE, NP=NOT PRESENT, NI=NOT INSPECTED | Styles & Materials CEILING MATERIAL: SHEETROCK WALL MATERIAL: SHEETROCK FLOOR COVERING: CARPET CLOSET DOORS: WOOD |
| --- | --- |

Comments:

10.0.B Complimentary view of Bedroom 2.

10.0.B Picture 1

## 10(C). BEDROOM 3

| Y N G F RR NP NI 10.0.C BEDROOMS COMPLIMENTARY VIEW X 10.1.C CEILING X 10.2.C WALLS X 10.3.C FLOORS X 10.4.C DOORS X 10.5.C WINDOWS X 10.6.C CONDITION OF THE OUTLETS AND WALL SWITCHES X 10.7.C IS THERE ANY UNSAFE OR INCORRECT ELECTRICAL WIRING X 10.8.C CONDITION OF THE AIR DISTRIBUTION SCREEN OR RETURN GRILL VENT X 10.9.C DOES THE CEILING FAN OR LIGHT FIXTURE APPEAR TO BE OPERATIONAL X Y N G F RR NP NI Y=Yes, N=No, G=GOOD, F=FAIR, RR=REPAIR OR REPLACE, NP=NOT PRESENT, NI=NOT INSPECTED | Styles & Materials CEILING MATERIAL: SHEETROCK WALL MATERIAL: SHEETROCK FLOOR COVERING: CARPET CLOSET DOORS: BIFOLDS WOOD |
| --- | --- |

Comments:

10.0.C Complimentary view of Bedroom 3.

10.0.C Picture 1

## 10(D). BEDROOM 4

| Y N G F RR NP NI 10.0.D BEDROOMS COMPLIMENTARY VIEW X 10.1.D CEILING X 10.2.D WALLS X 10.3.D FLOORS X 10.4.D DOORS X 10.5.D WINDOWS X 10.6.D CONDITION OF THE OUTLETS AND WALL SWITCHES X 10.7.D IS THERE ANY UNSAFE OR INCORRECT ELECTRICAL WIRING X 10.8.D CONDITION OF THE AIR DISTRIBUTION SCREEN OR RETURN GRILL VENT X 10.9.D DOES THE CEILING FAN OR LIGHT FIXTURE APPEAR TO BE OPERATIONAL X Y N G F RR NP NI Y=Yes, N=No, G=GOOD, F=FAIR, RR=REPAIR OR REPLACE, NP=NOT PRESENT, NI=NOT INSPECTED | Styles & Materials CEILING MATERIAL: SHEETROCK WALL MATERIAL: SHEETROCK FLOOR COVERING: CARPET CLOSET DOORS: WOOD |
| --- | --- |

Comments:

10.0.D Complimentary view of Bedroom 4.

10.0.D Picture 1

## 11. DINING ROOM (Coverings

| Y N G F RR NP NI 11.0 COMPLIMENTARY VIEW X 11.1 CEILING X 11.2 WALLS X 11.3 FLOOR X 11.4 DOORS OR SLIDING GLASS / SCREEN DOORS X 11.5 WINDOWS X 11.6 CONDITION OF THE OUTLETS AND WALL SWITCHES X 11.7 IS THERE ANY UNSAFE ELECTRICAL WIRING X 11.8 DOES THE CEILING FAN / LIGHT FIXTURE APPEAR TO BE OPERATIONAL X 11.9 CONDITION OF THE AIR DISTRIBUTION SCREEN VENT X Y N G F RR NP NI Y=Yes, N=No, G=GOOD, F=FAIR, RR=REPAIR OR REPLACE, NP=NOT PRESENT, NI=NOT INSPECTED | Styles & Materials CEILING MATERIAL: SHEETROCK WALL MATERIAL: SHEETROCK BRICK FLOOR COVERING: CARPET |
| --- | --- |

Comments:

11.0 Dining Room complimentary view.

11.0 Picture 1

11.3 Carpet / flooring squeaks in one area (nuisance only). This is located before entering the Kitchen area.

11.3 Picture 1

## 12(A). LIVING ROOM

| Y N G F RR NP NI 12.0.A COMPLIMENTARY VIEW X 12.1.A CEILING X 12.2.A WALLS X 12.3.A FLOORS X 12.4.A DOORS X 12.5.A WINDOWS X 12.6.A CONDITION OF THE OUTLETS AND WALL SWITCHES X 12.7.A IS THERE ANY UNSAFE ELECTRICAL WIRING X 12.8.A DOES THE CEILING FAN OR LIGHT FIXTURE APPEAR TO BE OPERATIONAL X 12.9.A CONDITION OF THE AIR DISTRIBUTION SCREEN OR RETURN GRILL VENT X Y N G F RR NP NI Y=Yes, N=No, G=GOOD, F=FAIR, RR=REPAIR OR REPLACE, NP=NOT PRESENT, NI=NOT INSPECTED | Styles & Materials CEILING MATERIAL: SHEETROCK WALL MATERIAL: SHEETROCK FLOOR COVERING: CARPET |
| --- | --- |

Comments:

12.0.A Complimentary view of the Living Room.

12.0.A Picture 1

## 12(B). FAMILY ROOM

| Y N G F RR NP NI 12.0.B COMPLIMENTARY VIEW X 12.1.B CEILING X 12.2.B WALLS X 12.3.B FLOORS X 12.4.B DOORS X 12.5.B WINDOWS X 12.6.B CONDITION OF THE OUTLETS AND WALL SWITCHES X 12.7.B IS THERE ANY UNSAFE ELECTRICAL WIRING X 12.8.B DOES THE CEILING FAN OR LIGHT FIXTURE APPEAR TO BE OPERATIONAL X 12.9.B CONDITION OF THE AIR DISTRIBUTION SCREEN OR RETURN GRILL VENT X Y N G F RR NP NI Y=Yes, N=No, G=GOOD, F=FAIR, RR=REPAIR OR REPLACE, NP=NOT PRESENT, NI=NOT INSPECTED | Styles & Materials CEILING MATERIAL: SHEETROCK WALL MATERIAL: SHEETROCK FLOOR COVERING: CARPET |
| --- | --- |

Comments:

12.0.B Complimentary view of the Family Room.

12.0.B Picture 1

## 12(C). LOWER LEVEL FAMILY ROOM

| Y N G F RR NP NI 12.0.C COMPLIMENTARY VIEW X 12.1.C CEILING X 12.2.C WALLS X 12.3.C FLOORS X 12.4.C DOORS X 12.5.C WINDOWS X 12.6.C CONDITION OF THE OUTLETS AND WALL SWITCHES X 12.7.C IS THERE ANY UNSAFE ELECTRICAL WIRING X 12.8.C DOES THE CEILING FAN OR LIGHT FIXTURE APPEAR TO BE OPERATIONAL X 12.9.C CONDITION OF THE AIR DISTRIBUTION SCREEN OR RETURN GRILL VENT X Y N G F RR NP NI Y=Yes, N=No, G=GOOD, F=FAIR, RR=REPAIR OR REPLACE, NP=NOT PRESENT, NI=NOT INSPECTED | Styles & Materials CEILING MATERIAL: SHEETROCK WALL MATERIAL: SHEETROCK FLOOR COVERING: CARPET |
| --- | --- |

Comments:

12.0.C Complimentary view of the Lower Level Family Room.

| 12.0.C Picture 1 | 12.0.C Picture 2 |
| --- | --- |

## 13. HALLWAY, STORAGE AND CLOSET

| Y N G F RR NP NI 13.0 COMPLIMENTARY VIEW X 13.1 CEILING X 13.2 WALLS X 13.3 FLOORS X 13.4 DOORS X 13.5 WINDOWS X 13.6 THE CONDITIONS OF THE OUTLETS AND WALL SWITCHES X 13.7 IS THERE ANY UNSAFE ELECTRICAL WIRING X 13.8 CONDITION OF THE CLOSET, HALLWAY, STORAGE AREA LIGHT FIXTURE X 13.9 CONDITION OF THE CLOSET, STORAGE AREA X Y N G F RR NP NI Y=Yes, N=No, G=GOOD, F=FAIR, RR=REPAIR OR REPLACE, NP=NOT PRESENT, NI=NOT INSPECTED | Styles & Materials CEILING MATERIAL: SUSPENDED CEILING PANELS WALL MATERIAL: SHEETROCK FLOOR MATERIAL: CARPET CLOSET / STORAGE DOOR: WOOD |
| --- | --- |

Comments:

13.0 Complimentary view of Lower Level Storage Rooms.

| 13.0 Picture 1 | 13.0 Picture 2 |
| --- | --- |

13.1 Recommend reinstalling the ceiling duct vent correctly, located at the rear storage room.

13.1 Picture 1

## 14. BATHROOM COMPONENTS

| Y N G F RR NP NI 14.0 CONDITION OF THE SINK BASE AND CABINETRY X 14.1 CONDITION OF BATHROOM FIXTURES X 14.2 CONDITION OF THE PLUMBING FIXTURES X 14.3 ARE CUT-OFF VALVES UNDER THE SINK AND TOILET X 14.4 DOES THE SINK PLUMBING OPERATE PROPERLY X 14.5 CONDITION OF THE SINK X 14.6 CONDITION OF THE BATHTUB / SHOWER X 14.7 CONDITION OF THE SINK FAUCETS AND STOP VALVE X 14.8 DOES THE TOILET OPERATE PROPERLY X X 14.9 DOES THE SHOWER/BATH DRAIN PROPERLY X 14.10 CONDITION OF THE SHOWER, TUB FAUCETS AND STOP VALVE X 14.11 CAULKING ALONG PERIMETER OF TUB/SHOWER AND FLOOR X 14.12 CAULKING ALONG PERIMETER OF TUB/SHOWER AND WALL X 14.13 IS THE SPACE HEATER OPERATIONAL X Y N G F RR NP NI Y=Yes, N=No, G=GOOD, F=FAIR, RR=REPAIR OR REPLACE, NP=NOT PRESENT, NI=NOT INSPECTED | Styles & Materials EXHAUST FAN TYPES: FAN ONLY |
| --- | --- |

Comments:

14.2 Towel rack is pulling away from the wall at the Lower Level Bathroom.

14.2 Picture 1

14.6 The Jacuzzi Tub's wall switch was not operational during the home inspection. Recommend that the Jacuzzi Tub be operable during walk through.

14.6 Picture 1

14.7 Stop-valve does not operate correctly, and needs adjustment at Half Bath and Master Bathroom sink.

| 14.7 Picture 1 | 14.7 Picture 2 |
| --- | --- |

14.8 Water continues to run within the bowl after the tank has been filled. Recommend possible drain plug adjustment or replacement. This is located at the Lower Level Bath.

14.8 Picture 1

14.11 Recommend silicone caulk along floor and tub at Hall Bath.

14.11 Picture 1

## 15. LAUNDRY ROOM

| Y N G F RR NP NI 15.0 COMPLIMENTARY VIEW X 15.1 CEILING X 15.2 WALLS X 15.3 FLOORS X 15.4 DOORS X 15.5 WINDOWS X 15.6 STAIRWAY X 15.7 IS THERE ANY UNSAFE OR INCORRECT ELECTRICAL WIRING X 15.8 CONDITION OF THE OUTLETS AND WALL SWITCHES X 15.9 ARE THE OUTLETS WITHIN TWO FEET OF THE SINK GFCI X X 15.10 CONDITION OF THE SINK PLUMBING X 15.11 CONDITION OF LIGHT FIXTURE X 15.12 WASHER CONNECTION CONDITION X 15.13 IS THE WASHER AND DRYER OPERATIONAL, IF IT CONVEYS WITH THE HOME X 15.14 IS THE DRYER VENTILATION EXTENSION PROPERLY INSTALLED AND EXHAUSTING TO THE OUTSIDE X Y N G F RR NP NI Y=Yes, N=No, G=GOOD, F=FAIR, RR=REPAIR OR REPLACE, NP=NOT PRESENT, NI=NOT INSPECTED | Styles & Materials CEILING MATERIAL: SHEETROCK WALL MATERIAL: SHEETROCK FLOOR COVERING: LINOLEUM DRYER VENT: FLEXIBLE METAL METAL DRYER POWER SOURCE: 22O ELECTRIC WASHER DRAIN SIZE: 2" DIAMETER |
| --- | --- |

Comments:

15.0 Complimentary view of the Laundry Room.

15.0 Picture 1

15.9 GFCI (Ground fault circuit interrupter) outlets are to be placed within 6' of water. This applies to kitchen, bathroom, garage and exterior outlets. Recommend that the outlet be GFCI'd, instead of a standard electrical outlet. This is a safety concern.

15.9 Picture 1

15.11 Light bulb appears to be burned out. Replace light bulb.

15.11 Picture 1

## 16(A). MASTER BATH

| Y N G F RR NP NI 16.0.A COMPLIMENTARY VIEW X 16.1.A CEILING X 16.2.A WALLS X 16.3.A FLOORS X 16.4.A DOORS X 16.5.A WINDOWS X 16.6.A CLOSET DOORS X 16.7.A LIGHT FIXTURES X 16.8.A CONDITION OF THE CLOSET LIGHT FIXTURE X 16.9.A ARE THE BATHROOM OUTLETS GFCI PROTECTED X 16.10.A CONDITION OF ELECTRICAL OUTLET (S) X 16.11.A IS THERE ANY UNSAFE ELECTRICAL WIRING X 16.12.A IS THE EXHAUST FAN IN SERVICEABLE CONDITION X 16.13.A CONDITION OF THE AIR DISTRIBUTION SCREEN OR RETURN GRILL VENT X Y N G F RR NP NI Y=Yes, N=No, G=GOOD, F=FAIR, RR=REPAIR OR REPLACE, NP=NOT PRESENT, NI=NOT INSPECTED | Styles & Materials CEILING MATERIAL: SHEETROCK WALL MATERIAL: SHEETROCK WALLPAPER FLOOR COVERING: LINOLEUM |
| --- | --- |

Comments:

16.0.A Complimentary view of the Master Bath.

16.0.A Picture 1

16.9.A The bathroom outlets are on a GFCI circuit breaker at the main electrical panel.

## 16(B). HALL BATH

| Y N G F RR NP NI 16.0.B COMPLIMENTARY VIEW X 16.1.B CEILING X 16.2.B WALLS X 16.3.B FLOORS X 16.4.B DOORS X 16.5.B WINDOWS X 16.6.B CLOSET DOORS X 16.7.B LIGHT FIXTURES X 16.8.B CONDITION OF THE CLOSET LIGHT FIXTURE X 16.9.B ARE THE BATHROOM OUTLETS GFCI PROTECTED X 16.10.B CONDITION OF ELECTRICAL OUTLET (S) X 16.11.B IS THERE ANY UNSAFE ELECTRICAL WIRING X 16.12.B IS THE EXHAUST FAN IN SERVICEABLE CONDITION X 16.13.B CONDITION OF THE AIR DISTRIBUTION SCREEN OR RETURN GRILL VENT X Y N G F RR NP NI Y=Yes, N=No, G=GOOD, F=FAIR, RR=REPAIR OR REPLACE, NP=NOT PRESENT, NI=NOT INSPECTED | Styles & Materials CEILING MATERIAL: SHEETROCK WALL MATERIAL: SHEETROCK FLOOR COVERING: LINOLEUM |
| --- | --- |

Comments:

16.0.B Complimentary view of the Hall Bath.

16.0.B Picture 1

16.9.B The bathroom outlets are on a GFCI circuit breaker at the main electrical panel.

## 16(C). HALF BATH 1/2

| Y N G F RR NP NI 16.0.C COMPLIMENTARY VIEW X 16.1.C CEILING X 16.2.C WALLS X 16.3.C FLOORS X 16.4.C DOORS X 16.5.C WINDOWS X 16.6.C CLOSET DOORS X 16.7.C LIGHT FIXTURES X 16.8.C CONDITION OF THE CLOSET LIGHT FIXTURE X 16.9.C ARE THE BATHROOM OUTLETS GFCI PROTECTED X 16.10.C CONDITION OF ELECTRICAL OUTLET (S) X 16.11.C IS THERE ANY UNSAFE ELECTRICAL WIRING X 16.12.C IS THE EXHAUST FAN IN SERVICEABLE CONDITION X 16.13.C CONDITION OF THE AIR DISTRIBUTION SCREEN OR RETURN GRILL VENT X Y N G F RR NP NI Y=Yes, N=No, G=GOOD, F=FAIR, RR=REPAIR OR REPLACE, NP=NOT PRESENT, NI=NOT INSPECTED | Styles & Materials CEILING MATERIAL: SHEETROCK WALL MATERIAL: SHEETROCK FLOOR COVERING: HARDWOOD T&G |
| --- | --- |

Comments:

16.0.C Complimentary view of the Half Bath 1/2.

16.0.C Picture 1

16.9.C The outlet is GFCI'd downstream on the same circuit as the main breaker.

## 16(D). LOWER LEVEL BATH

| Y N G F RR NP NI 16.0.D COMPLIMENTARY VIEW X 16.1.D CEILING X 16.2.D WALLS X 16.3.D FLOORS X 16.4.D DOORS X 16.5.D WINDOWS X 16.6.D CLOSET DOORS X 16.7.D LIGHT FIXTURES X 16.8.D CONDITION OF THE CLOSET LIGHT FIXTURE X 16.9.D ARE THE BATHROOM OUTLETS GFCI PROTECTED X 16.10.D CONDITION OF ELECTRICAL OUTLET (S) X 16.11.D IS THERE ANY UNSAFE ELECTRICAL WIRING X 16.12.D IS THE EXHAUST FAN IN SERVICEABLE CONDITION X 16.13.D CONDITION OF THE AIR DISTRIBUTION SCREEN OR RETURN GRILL VENT X Y N G F RR NP NI Y=Yes, N=No, G=GOOD, F=FAIR, RR=REPAIR OR REPLACE, NP=NOT PRESENT, NI=NOT INSPECTED | Styles & Materials CEILING MATERIAL: SHEETROCK WALL MATERIAL: SHEETROCK FLOOR COVERING: LINOLEUM |
| --- | --- |

Comments:

16.0.D Complimentary view of Lower Level Bath.

16.0.D Picture 1

## 17. INTERIOR STAIRS

| Y N G F RR NP NI 17.0 STEPS, STAIRWAYS, BALCONIES AND RAILINGS X 17.1 ARE THE STEPS REASONABLY UNIFORM IN HEIGHT X 17.2 ARE THE PICKETS SPACED 4 INCHES APART OR LESS (Safety issue for children) X 17.3 CONDITION OF THE UPPER AND LOWER STAIRWAY LANDINGS X 17.4 CONDITION OF WALLS, FLOOR, DOORS AND CEILING X 17.5 CONDITION OF THE LIGHT FIXTURE X Y N G F RR NP NI Y=Yes, N=No, G=GOOD, F=FAIR, RR=REPAIR OR REPLACE, NP=NOT PRESENT, NI=NOT INSPECTED |  |
| --- | --- |

## 18. ELECTRICAL

| Y N G F RR NP NI 18.0 SERVICE ENTRANCE CONDUCTORS X 18.1 SERVICE AND GROUNDING EQUIPMENT, MAIN OVERCURRENT DEVICE, MAIN AND DISTRIBUTION PANELS X 18.2 IS THERE A BOND WIRE FROM ELECTRICAL PANEL TO METAL PLUMBING X 18.3 DOES THE METERBASE HAVE A GROUND WIRE AND ROD X 18.4 CONDITION OF WIRING, CIRCUITS, OR FUSES INSIDE MAIN PANEL (Branch circuit conductors, Over-current devices, and compatibility of their amperage and voltage) X 18.5 ARE THE CIRCUITS OR FUSES LABELED CLEARLY X 18.6 ARE THE CIRCUIT BREAKERS OR FUSE BLOCKS THE SAME BRAND NAME AS PANEL X 18.7 DESCRIBE THE LOCATION OF MAIN AND DISTRIBUTION PANELS X 18.8 ARE SMOKE DETECTORS PRESENT IN THE HOME X 18.9 CONNECTED DEVICES, FIXTURES OR LOOSE WIRING (Observed from a representative number operation of ceiling fans, lighting fixtures, switches and receptacles located inside the house, garage, and on the dwelling's exterior walls) X 18.10 POLARITY AND GROUNDING OF RECEPTACLES WITHIN 6 FEET OF INTERIOR PLUMBING FIXTURES, AND ALL RECEPTACLES IN GARAGE, CARPORT, EXTERIOR WALLS OF INSPECTED STRUCTURE X 18.11 OPERATION OF GFCI (GROUND FAULT CIRCUIT INTERRUPTERS) OUTLETS AND CIRCUIT BREAKERS X 18.12 IS THERE ANY UNSAFE ELECTRICAL WIRING X Y N G F RR NP NI Y=Yes, N=No, G=GOOD, F=FAIR, RR=REPAIR OR REPLACE, NP=NOT PRESENT, NI=NOT INSPECTED | Styles & Materials ELECTRICAL CONDUCTORS: BELOW GROUND PANEL CAPACITY: 200 AMP PANEL TYPE: CIRCUITS ELEC. PANEL MANUFACTURER: SQUARE D BRANCH WIRE 15 and 20 AMP: COPPER WIRING METHODS: ROMEX NUMBER 15 AMPS: (10) NUMBER 20 AMPS: (10) NUMBER 30 AMPS: (3) |
| --- | --- |

Comments:

18.4 The electrical wiring inside of the main panel appears to be in serviceable condition.

18.4 Picture 1

18.8 Smoke detectors were tested, and should have backup batteries installed before moving into the house.

18.8 Picture 1

## 19. PLUMBING

| Y N G F RR NP NI 19.0 INTERIOR WATER SUPPLY, DISTRIBUTION SYSTEMS AND FIXTURES X 19.1 INTERIOR DRAIN, WASTE AND VENT SYSTEMS X 19.2 ANY LEAKS OR CROSS-CONNECTIONS ON THE SUPPLY OR WASTE LINES X 19.3 DESCRIBE FUNCTIONAL FLOW (water pressure and volume) X 19.4 WAS THE MAIN WATER VALVE LOCATED X 19.5 WATER HEATER X 19.6 IS WATER HEATER WIRING SECURED PROPERLY X 19.7 IS THE T&P VALVE PIPED WITHIN 6 INCHES OF THE FLOOR X 19.8 WAS THE CHIMNEY LINER INSPECTED (for gas/oil water heater only) X 19.9 IS A WATER PURIFICATION SYSTEM PRESENT X 19.10 CONDITION OF THE WELL PUMP PRESSURE TANK X 19.11 CONDITION OF THE SUMP PUMP X 19.12 CONDITION OF THE WATER HEATER STORAGE AREA X Y N G F RR NP NI Y=Yes, N=No, G=GOOD, F=FAIR, RR=REPAIR OR REPLACE, NP=NOT PRESENT, NI=NOT INSPECTED | Styles & Materials PLUMBING SUPPLY: NOT VISIBLE DISTRIBUTION: COPPER PLUMBING WASTE: PVC WATER SOURCE: PUBLIC WATER HEATER POWER SOURCE: ELECTRIC MANUFACTURER: A.O. SMITH CAPACITY: 80 GAL (PLENTY) |
| --- | --- |

Comments:

19.1 Interior drain is present in the concrete slab floor, located at the water heater storage area.

19.1 Picture 1

19.4 Could not locate the main shut-off for water? Please ask the current owners for the location. Otherwise, you will need to use a water key at the street meter or have a plumber install one.

19.5 Photo 1. The water heater is operational. The life expectancy of the average water heater is 8 to 12 years. Photo 2. Recommend that the water heater be flushed of sediment from at the bottom of the tank every 6 months. Hook a hose up to the hose bib at the bottom of the water heater, and turn on the knob to extract approximately 1 gallon of the water to the outside of the house. Model # EES80913, Serial # MC88-0057662-H44

| 19.5 Picture 1 | 19.5 Picture 2 |
| --- | --- |

## 20. HEATING

| Y N G F RR NP NI 20.0 THERMOSTATS CONDITION X 20.1 IS THERE A HUMIDIFIER PRESENT X 20.2 IS THERE A DEHUMIDIFIER PRESENT X 20.3 HEATING EQUIPMENT X 20.4 COMBUSTION AIR SUPPLY X 20.5 NORMAL OPERATING CONTROLS X 20.6 AUTOMATIC SAFETY CONTROLS X 20.7 ARE CARBON MONOXIDE DETECTORS PRESENT X 20.8 CHIMNEYS, FLUES AND VENTS (FOR FURNACE) X 20.9 HEAT DISTRIBUTION SYSTEMS (including fans, pumps, ducts and piping, with supports, insulation, air filters, registers, radiators, fan coil units and convectors) X 20.10 CONDITION OF EXTERIOR OIL FUEL OR PROPANE GAS TANK(S) X 20.11 PRESENCE OF INSTALLED HEAT SOURCE IN EACH ROOM X Y N G F RR NP NI Y=Yes, N=No, G=GOOD, F=FAIR, RR=REPAIR OR REPLACE, NP=NOT PRESENT, NI=NOT INSPECTED | Styles & Materials NUMBER OF HEAT SYSTEMS (excluding wood): TWO FUEL SOURCE: GAS ELECTRIC HEAT TYPE: HEAT PUMP (FORCED AIR) HEAT SYSTEM BRAND: RHEEM FILTER TYPE: DISPOSABLE DUCTWORK: INSULATED |
| --- | --- |

Comments:

20.1 Humidifier was operational during the inspection.

20.1 Picture 1

20.3 Our company did not inspect the heat mode of heat pump due to outside temperature is above 60 degrees and damage could result. Because the components work in reverse, if the unit works in the AC mode, it will work in the Heat mode.

## 21. CENTRAL AIR CONDITIONING

| Y N G F RR NP NI 21.0 THERMOSTATS CONDITION X 21.1 COOLING EQUIPMENT X 21.2 AIR HANDLER EQUIPMENT X 21.3 DOES THE ATTIC FURNACE OR AIR HANDLER SYSTEM HAVE PROPER DRAINAGE X 21.4 NORMAL OPERATING CONTROLS X 21.5 CONDENSATION LINE OR PUMP'S CONDITION X 21.6 DISTRIBUTION SYSTEMS (including fans, pumps, ducts and piping, with supports, insulation, air filters, registers, radiators, fan coil units and convectors) X 21.7 IS THERE ANY UNSAFE ELECTRICAL WIRING X 21.8 PRESENCE OF INSTALLED COOLING SOURCE IN EACH ROOM X 21.9 IS THERE VEGETATION OR OBSTRUCTION WITHIN A FOOT OF THE CENTRAL AIR CONDITIONING UNIT X 21.10 CONDITION OF THE COOLING SUPPORTING STRUCTURE X Y N G F RR NP NI Y=Yes, N=No, G=GOOD, F=FAIR, RR=REPAIR OR REPLACE, NP=NOT PRESENT, NI=NOT INSPECTED | Styles & Materials NUMBER OF A/C UNITS: ONE CENTRAL AIR MANUFACTURER: RHEEM AIR HANDLER UNIT MANUFACTURER: RHEEM |
| --- | --- |

Comments:

21.1 Ambient air test was performed by using thermometers on air handler of Heat pump in cool mode to determine if the difference in temperatures of the supply and return air are between 14 degrees and 22 degrees which indicates unit is cooling as intended. The supply air temperature on your system read 58 degrees, and the return air temperature was 72 degrees. "Optional", to consult with the owner in reference to service paperwork on this unit. No Model or Serial information were available for this unit.

21.1 Picture 1

21.2 The air handler unit is in serviceable condition. No service ticket was present for the air handler unit."Optional" to consult with the owner in reference to when a licensed HVAC technician serviced the AC/Heat Pump and air handler unit for preventive maintenance. Model # RHQA-1215J, Serial # HM08886496, MFR # 1988

21.2 Picture 1

21.9 Recommend that all vegetation be cleared back to at least 18 inches away from the AC or AC/Heat Pump unit, to ensure proper airflow. Preventive maintenance only.

21.9 Picture 1

## 22. FIREPLACES

| Y N G F RR NP NI 22.0 FIREPLACE OR SOLID FUEL BURNING DEVICES X 22.1 CONDITION OF THE ELECTRICAL OR MANUAL COMPONENTS X 22.2 CLEARANCE TO COMBUSTIBLES X 22.3 ARE CARBON MONOXIDE DETECTORS PRESENT X 22.4 CONDITION OF HEARTH, MANTLE, DOORS AND WALL X 22.5 DO THE FIRE-BRICK WALLS NEED MORTAR OR REPAIR X 22.6 WAS THE LINER INSPECTED OR FULLY VISIBLE FROM END TO END X X Y N G F RR NP NI Y=Yes, N=No, G=GOOD, F=FAIR, RR=REPAIR OR REPLACE, NP=NOT PRESENT, NI=NOT INSPECTED | Styles & Materials TYPES OF FIREPLACES: CONVENTIONAL NON-VENTED GAS LOGS OPERABLE FIREPLACES: TWO |
| --- | --- |

Comments:

22.0 Complimentary view of the fireplaces. The Lower Level Fireplace was not operational, because it appears that the gas to the fireplace was shut off for the Summer. Recommend that this be operable upon walk through.

| 22.0 Picture 1 | 22.0 Picture 2 |
| --- | --- |

22.6 The Main Level Fireplace's liner was partially inspected by our company from within the house only. We did not inspect the rest of the liner because often it would require disassembly of vent pipe at the vent hood on the roof, or the side of the house. Recommend a certified chimney sweep inspect for safety.

22.6 Picture 1

Prepared Using HomeGauge http://www.homegauge.com SHGI (c) 2000-2004 : Licensed To Scorpion Home Inspections, Inc.

## General Summary

Scorpion Home Inspections, Inc. 265 Cedar Ridge Drive Ruther Glen, VA. 22546 (540) 379-2461

Customer Client

Property Address 1906 White Lake Drive Fredericksburg, VA 22407

1 ROOFING, DRAINAGE, CHIMNEYS

| 1.2 | DOES THE ROOF COVERING APPEAR TO BE IN SERVICEABLE CONDITION |
| --- | --- |
|  | Yes, REPAIR OR REPLACE |  |
|  | Roof shingles are missing at front of home. Recommend repair or replace as needed. |
| 1.6 | ROOF VENTILATION |
|  | REPAIR OR REPLACE |  |
|  | Plumbing vent pipes need caulking around perimeter of pipe and boot where boot flange has failed. This specific vent pipe is located at the rear side of the house. |
| 1.9 | ARE THE DOWNSPOUTS OR DRAINAGE PROVIDED PROPERLY |
|  | No, REPAIR OR REPLACE |  |
|  | (Pictures 1-2) Downspouts need an elbow at front left corner and rear of garage. Recommend readjusting the splashblock, so the water is diverted away from the home's foundational structure. (Picture 3) Reattach the downspout supporting bracket, located at the right front corner of the house (facing front). Preventive maintenance only. |

2 EAVE, SIDING, FOUNDATION WALLS

| 2.1 | CONDITION OF THE EXTERIOR WALL COVERINGS AND FLASHING |
| --- | --- |
|  | REPAIR OR REPLACE |  |
|  | Siding in contact with ground at left side and rear of garage (facing front). Recommend a ground clearance of six to eight inches where possible. |

3 DECKS, BALCONIES, PORCHES, STOOP, STEPS, RAILING

| 3.0 | PORCH, PATIO, STOOP OR AWNING, STAIRS AND HANDRAILS OR BALCONIES |
| --- | --- |
|  | REPAIR OR REPLACE |  |
|  | Handrails are required in this area, because there are more than three steps or the height is greater than 2 feet from the ground. Balusters are also needed. Balusters spacing requirements are a minimum of 4 inches or less. This is a safety concern. |

4 WINDOWS, DOORS

| 4.5 | WINDOW SCREEN(S) CONDITION |
| --- | --- |
|  | REPAIR OR REPLACE |  |
|  | One window is missing a screen section. Recommend that these be added. This window is located at the right front corner of the house (facing front). |

5 GARAGE

| 5.4 | ARE THE GARAGE DOOR CENSORS PRESENT AND OPERATIONAL |
| --- | --- |
|  | No, REPAIR OR REPLACE |  |
|  | The censors are missing and need to be present, at least 6 inches from the ground. This is a safety concern. |
| 5.5 | FIRE RESISTANT SEPARATION WALLS, CEILINGS, AND DOORS BETWEEN A DWELLING UNIT AND AN ATTACHED GARAGE |
|  | No, REPAIR OR REPLACE |  |
|  | This is not a fire resistant door separating the garage and the dwelling unit. Recommend replace as needed. |
| 5.14 | CONDITION OF THE ELECTRICAL OUTLETS |
|  | GOOD, REPAIR OR REPLACE |  |
|  | The electrical outlet at the ceiling needs a coverplate. This is a safety concern. |

7 ATTIC AND ROOF STRUCTURE

| 7.3 | ARE THERE ANY VISIBLE SIGNS OF LEAKS, ABNORMAL CONDENSATION OR DETERIORATION |
| --- | --- |
|  | Yes, REPAIR OR REPLACE |  |
|  | Water signs on plywood resulting from a "Roof leak", were found at the left center and right corner of the house (facing front). Recommend a roofing contractor for further evaluation, repair or replace as needed. |

9 KITCHEN COMPONENTS

| 9.14 | CONDITION OF THE REFRIGERATOR |
| --- | --- |
|  | GOOD, REPAIR OR REPLACE |  |
|  | The ice maker was not operational during the home inspection. Recommend a service technician for repair or replace as needed. |

14 BATHROOM COMPONENTS

| 14.6 | CONDITION OF THE BATHTUB / SHOWER |
| --- | --- |
|  | REPAIR OR REPLACE |  |
|  | The Jacuzzi Tub's wall switch was not operational during the home inspection. Recommend that the Jacuzzi Tub be operable during walk through. |
| 14.8 | DOES THE TOILET OPERATE PROPERLY |
|  | No, REPAIR OR REPLACE |  |
|  | Water continues to run within the bowl after the tank has been filled. Recommend possible drain plug adjustment or replacement. This is located at the Lower Level Bath. |

15 LAUNDRY ROOM

| 15.9 | ARE THE OUTLETS WITHIN TWO FEET OF THE SINK GFCI |
| --- | --- |
|  | No, REPAIR OR REPLACE |  |
|  | GFCI (Ground fault circuit interrupter) outlets are to be placed within 6' of water. This applies to kitchen, bathroom, garage and exterior outlets. Recommend that the outlet be GFCI'd, instead of a standard electrical outlet. This is a safety concern. |

22 FIREPLACES

| 22.6 | WAS THE LINER INSPECTED OR FULLY VISIBLE FROM END TO END |
| --- | --- |
|  | No, REPAIR OR REPLACE |  |
|  | The Main Level Fireplace's liner was partially inspected by our company from within the house only. We did not inspect the rest of the liner because often it would require disassembly of vent pipe at the vent hood on the roof, or the side of the house. Recommend a certified chimney sweep inspect for safety. |

Prepared Using HomeGauge http://www.homegauge.com SHGI (c) 2000-2004 : Licensed To Scorpion Home Inspections, Inc.

|  | INVOICE |
| --- | --- |

| Scorpion Home Inspections, Inc. 265 Cedar Ridge Drive Ruther Glen, VA. 22546 (540) 379-2461 Inspected By: Michael Edwards | Inspection Date: 6/14/2006 Report ID: 1361-0606 |
| --- | --- |

| Customer Info: | Inspection Property: |
| --- | --- |
| Client 123 Home Inspection Drive Fredericksburg VA 22401 Customer's Real Estate Professional: Paul Garrison Long & Foster Realtors | 1906 White Lake Drive Fredericksburg, VA 22407 |

Inspection Fee:

Service Price Amount Sub-Total Heated Sq Feet 2,501 - 3,000 295.00 1 295.00 Radon + Home Inspection 120.00 1 120.00

Tax $0.00

Total Price $415.00

Payment Method:Check
Payment Status:Paid At Time Of Inspection
Note:

Scorpion Home Inspections, Inc. 265 Cedar Ridge Drive Ruther Glen, VA. 22546 (540) 379-2461

## Report Attachments

Pre-Inspection Agreement

2nd page of the Pre-Inspection Agreement

## Scorpion Home Inspections, Inc.

## Inspection Agreement

This inspection was performed in accordance with and under the terms of a Pre-Inspection Agreement. The agreement was signed and agreed upon before the preparation of this report and a signed copy of the agreement is available upon request. An unsigned copy of the agreement may be attached to this report for your information or it may also be available on the home inspection company web site.